## Slide 1: Transport Analogy of Forced Convection Heat Transfer in PCBs
Convection Heat Transfer is analogous to Momentum Transfer…
P M V Subbarao
Professor
Mechanical Engineering Department

## Slide 2
Condition for Steady flow through a PCB Channel
For Steady flow:

## Slide 3
Heating of Fluid due to Cooling of PCB
=
Thermal Boundary Layer
Plug Fluid

## Slide 4: Flow That follows Poiseuille’s Laws
Regardless of duct shape, the entrance lengths can be correlated
for laminar flow in the form:

## Slide 5
Condition for Steady and Fully Developed flow with Wall Resistance
For Steady flow:
For Steady fully Developed flow:
A Negative Constant

## Slide 6: Forced Convection Cooling of Cards and Board
Simplifications
2 -D Channel
S << W
Steady - state
t
L
S
1
2
T
in
l
b
=
=

## Slide 7: Simple Modeling Forced Convection Flow of Cards and Boards
Fully Developed Laminar flow between parallel Plates:
Pressure drop for a PCB Channel of length L:

## Slide 8: Friction Factor for a PCB Channel
Overall Friction Factor:
=

## Slide 9
HEAT TRANSFER TO FULLY DEVELOPED DUCT FLOW
If O(1)
O(0)
=
=
Possibility of Transport Analogy…..

## Slide 10
HEAT TRANSFER TO FULLY DEVELOPED DUCT FLOW
=
Evolution of Fluid Mean Temperature in Developed Region:
The key question about the heat transfer to duct flow is the relationship between
the wall–fluid temperature difference and
the wall–fluid heat transfer rate (or the longitudinal temperature variation of the stream).

## Slide 11
HEAT TRANSFER TO FULLY DEVELOPED DUCT FLOW
=
Evolution of Fluid Mean Temperature in Developed Region:
Without loss of generality, consider a duct of depth S, average axial velocity U, and mass flow rate .
From the thermodynamics of flow systems, the heat transferred from the wall to the stream equals the enthalpy gain experienced by the stream.

## Slide 12
HEAT TRANSFER TO FULLY DEVELOPED DUCT FLOW
=
Evolution of Fluid Mean Temperature in Developed Region:
The first law of thermodynamics generates:
=

## Slide 13
HEAT TRANSFER TO FULLY DEVELOPED DUCT FLOW
Evolution of Fluid Mean Temperature in Developed Region:
The Fluid Mean temperature Tfluid-mean appearing in the first law analysis of the duct ‘‘control volume’’ is the bulk temperature of the stream.

## Slide 14
Fluid Temperature Profile in FULLY DEVELOPED DUCT FLOW
=
=
What is constant in thermally developed flow?

## Slide 15
Fluid Temperature Profile in FULLY DEVELOPED DUCT FLOW
The boundary conditions are:
&

## Slide 16
Fluid Temperature Profile in FULLY DEVELOPED DUCT FLOW
The temperature profile in fully developed flow is:

## Slide 17
Forced Convection Cooling
Nusselt Number is constant in thermally Developed flow:
Iso-heat flux Walls
Nu = 8.23
Isothermal Walls

## Slide 18
Fluid Flow /Convection Heat Transfer Analogy
Stanton Number
Applying to Channel with Isothermal walls:
Thomas Stanton (engineer) (1865–1931) invented Transport Analogy.
He used to characterize heat transfer in forced convection flows using fluid flow field and developed a dimensionless number.
This number is titled as Stanton number.

## Slide 19
Applying to Channel with Isoflux walls
Fluid Flow/Heat Transfer Analogy
Laminar, fully-developed, channel

## Slide 20
Turbulent, Fully-Developed Channel
Empirical Correlation for Friction Factor
  Smooth channel

## Slide 21
Development of Correlations for Nu Variation using Transport Similarity:
Turbulent, Fully-Developed Channel
Transport Analogy using Liminar flows

## Slide 22
Experimental Correlations for Nu
Turbulent, Fully-Developed Channel
(Kays)
(Colburn)

## Slide 23
Development General Transport Analogy:
Turbulent, Fully-Developed Channel
(Colburn)

## Slide 24
Parallel Plate Channel : Laminar Flow
Asymmetric Heating PCB Channels

## Slide 25
Effect of Turbulence Intensity on Heat Transfer Coefficient

## Slide 26
Enhancement of Forced Convection from PCBs
Inherent enhancement
  Protrusions
  Vibrations
  Electrical fields
Enhancement by control of geometric layout
  Staggering chips on the board
  Optimal streamwise spacing
Displaced promoters and flow modulation
  Wires, rods attached to the opposite wall of the channel
  Modulate flow at an appropriate frequency

## Slide 27
Enhancement of Forced Convection from PCBs
Vortex generators and barriers
  Delta-wing vortex generators
  Scoops
  Wall-mounted cylinders

## Slide 28
Enhancement of Forced Convection from PCBs
Impinging jets
  Free Jets
  Submerged jets
Compact heat sinks
  Microchannel heat sinks
  Porous metallic matrices
Hybrid techniques

## Slide 29
Closure
Analytical studies are tricky because of lack of geometric similarity (have to depend on experimental and numerical input)
Entrance effects are substantial and cannot be neglected
Need to be careful in interpreting data and using the appropriate heat transfer coefficient
Package length scale is the most representative dimension
Substrate conduction plays an important part
Several enhancement techniques can be successfully applied